## Humidity Matrix
TestEquity 123H — Humidity Accuracy Test Matrix
Setpoint (%RH) | Temp (°C) | Chamber | Reference | Error | Tolerance | PASS/FAIL
20 | 25 |  |  |  | ±2.0%
50 | 25 |  |  |  | ±2.0%
70 | 25 |  |  |  | ±2.0%
95 | 25 |  |  |  | ±2.0%
50 | 40 |  |  |  | ±2.0%
50 | 60 |  |  |  | ±2.0%